## Slide 1: NATIONAL ACCREDITATION BOARD FOR TESTING & CALIBRATION LABORATORIES
Chandani Borad
Bhakti Saliya
Urvisha Jagani
Hetal Vadaliya

## Slide 2: NABL
National Accreditation Board for Testing and Calibration Laboratories
Under QCI of Government of India
The accreditation to testing and Calibration laboratories are granted in accordance with ISO/IEC 17025: 2005 and medical testing as per ISO 15189:2003.

## Slide 3: General information
NABL web site www.nabl-india.org/
How to find ISO 15189:2007 https://www.iso.org/standard/42641.html
How to find ISO 15189:2012 https://www.iso.org/standard/56115.html
How to find NABL-112
www.nabl- india.org/nabl/file_download.php?
filename=201207131010-NABL-112...

## Slide 4: How to find NABL Document
www.nabl-india.org/
Publication(home page)
NABL document
(all list )
153 Application form for medical testing
laboratories
208 Pre-Assessment Guidelines & forms

## Slide 5: ISO of Different category
ISO15189 - How to Manage Quality of Medical Laboratories
ISO9000 - Definition of Quality Management
ISO9001 - How to Manage Quality of Any
System
ISO17025 - How to Manage Quality of Testing & Calibration of Laboratories

## Slide 6: Full forms
QCI – Quality Council of India
NABL – National Accreditation board for testing and calibration laboratories.
NABH - National Accreditation board for hospitals and health care providers.
MRA – Mutual Recognition Agreement
ILAC – International laboratory accreditation cooperation.
APLAC – Asia pacific laboratory accreditation cooperation.
LIS – laboratory information science.
IQC – Internal quality control.
EQAS – External quality assurance scheme.
ILC – Inter Laboratory Comparison
ISO – International organization for standardization

## Slide 7
13. IEC – International electro-technical commission.
14. WDI – Work Desk Instruction
15. SOP – Standard operating procedures.
16. TRF – Test Request Form
TAT – Turn around time.
CLIA – clinical laboratory improvement amendment.
CLSI – clinical and laboratory standards institute.
CV – Coefficient of variation
SD – Standard Deviation
TE - Total Error
TAE – Total Allowable Error
CAB – Conformity Assessment Bodies
QM- Quality manager
TM- Technical manager
LD- Laboratory director.

## Slide 8: Scope of NABL Accreditation
Testing laboratories
Calibration laboratories
Medical laboratories

## Slide 9: Calibration laboratories
Electro-Technical – Electric current, magnetic field
Mechanical – Speed , Rotation
Radiological – X rays illustration management
Thermal – Temperature
Optical – light wave length
Fluid-Flow – flow rate

## Slide 10: Medical laboratories
Clinical Biochemistry
Clinical Pathology
Genetics
Cytopathology
Hematology & Immuno-haematology
Histopathology
Microbiology& Serology
Nuclear Medicine (only in-vitro tests)

## Slide 11: MRA

## Slide 12: Mutual Recognition Agreement
ISO (ILAC), APLAC and NABL are interconnected.
ISO,APLAC,NATA & NABL linked to the same standardization (ISO) in testing procedures.
MRA indicate synchronization of standard requirement between all bodies.
Example….
ISO – laboratory personnel should be competent for intended purpose.
NABL – MLT , B.Sc. , M.Sc
NATA - depend on their respective country criteria.

## Slide 13: Information About Laboratory Required by NABL
Testing / Calibration / Medical
Full time / Part time
Fixed / Mobile
Legal identity / status /registration
Name of the CAB

## Slide 14: Benefits of Accreditation
Promise to clients about good laboratory practice
National and international recognition
4. Provides global similarity
5. Provides comparability in measurements of test results
6. Doctors can rely on test results
7. Improve staff motivation for work with system.
8. Confidence in the event of legal challenge
9. Saves money by putting system in work for good service.

## Slide 15: Preparation of CAB before applying for NABL Accreditation
Appoint quality manager who has done “Internal Auditor Course as per ISO:15189:2012.”
Designate QM, TM & LD
EQAS & IQC for all parameters
Prepare quality manual and quality system manual
Preparing SOP and WDI related to different process
Training for all laboratory personnel.

## Slide 16
ACCREDITATION PROCESS
Application for Accreditation
(by Laboratory)
Acknowledgement & Scrutiny of Application
(by NABL Secretariat)
)
Adequacy of Quality Manual
(by Lead Assessor)
Pre-Assessment of Laboratory
(by Lead Assessor)
Final Assessment of Laboratory
(by Assessment Team)
Scrutiny of Assessment Report
(by NABL Secretariat)
Recommendations for Accreditation
(by Accreditation Committee)
Approval for Accreditation
(( by Chairman NABL)
Issue of Accreditation Certificate
(by NABL Secretariat)
Feedback
to
Laboratory
and
Necessary
Corrective
Action
by
Laboratory

## Slide 17
Accreditation Certificate

## Slide 18: Other definitions
Accreditation
Procedure by which an authoritative body (NABL) gives formal recognition that an organization (Laboratory)is competent to carry out specific tasks .
Quality
Degree of fulfillment of specific characteristic with specific criteria.
For Glucose, Total allowable error as per CLIA is <10%
Biochemistry laboratory has TE of 5% for glucose

## Slide 19
Quality Management System
QMS is to direct and control an organization to maintain quality.
It is document to control and direct all process like the pre-examination, examination and post-examination processes.
Quality policy
Overall intentions and direction of a laboratory related to quality
Formal promise
“New Civil Hospital Laboratory Services Surat” (NCHSLS) is committed to provide accurate, reliable and timely medical laboratory services.

## Slide 20
Inter laboratory comparison
To compare test value with other laboratory to check performance and evolution.
For example,
Compare Glucose value with SMIMER hospital laboratory.
Randox EQAS programme
In this programme more than 1000 laboratory participate.
Laboratory reports is compare with all this laboratories .

## Slide 21
Critical interval
Interval of examination results for test that indicates an immediate risk to the patient.
CAL | less_than | 6.5
CHE | less_than | 3000
GLC | less_than | 55
GLC | less_than | 30
IBIL | more_than | 15
K | less_than | 3
K | more_than | 5.5
TBIL | more_than | 15

## Slide 22
Biological reference interval or Reference interval
specified interval of values taken from a biological reference population.
For example, RBS reference interval = 70-140 mg/dl,
Abnormal RBS = > 140 mg/dl,
Critical RBS = > 300 mg/dl.
Documented procedure
Documentation of specified way to carry out any activity or a process.
For example, documentary procedure for performing ADA test.

## Slide 23
Nonconformity
Nonfulfillment of a requirement
For example,
Internal quality control value for Glucose goes out of 3 SD.
Laboratory technician got needle pick injury during blood collection.
Point-of-care testing (POCT)
Near-patient testing
Testing performed near or at the site of a patient
Example : Glucometer

## Slide 24: Clauses & Sub clauses
4.1 Organization and management
Guideline about
  legal identity
  registration of organization
  ethical issues
  responsibility of different laboratory person.
4.2 Quality management system
What to write QMS.
  document, procedure, WDI,
Organization chart

## Slide 25
4.3 Document Control
Labeling and identification of different document.
all documents are identify to include,
  A title,
  a unique identifier on each page;
  The date of current edition and/or edition number
  Page number to total number
  Authority of issue.
4.4 Review of contracts.
It is related to agreement with customer(patient), user and doctor.
  Which test can be done or not done
  Which procedure
  when report available = TAT
  how report will be available.

## Slide 26
4.5 Examination by referral laboratories
About selection and evolution of referral laboratory.
4.6 External services and supplies
Procedure for how to purchase equipment, consumable reagents.
4.7 Advisory services
About interpretation of result, scientific review.
4.8 Resolution of complains
Procedure to respond complain and feedback.
4.9 Identification and control of nonconformities(refusal)
Procedure for identification and immediate action , corrective action, preventive action and authorized person to response NC.
4.10 Corrective action
To eliminate cause of nonconformities.

## Slide 27
4.11 Preventive action
For prevention of nonconformities.
4.12 Continual improvement
Add new test, decrease TAT, improve techniques, improvement more specific result.

## Slide 28
4.13 Quality and technical records
records shall include at least the following;
Staff qualifications, training and competency records;
Request for examination
Records of receipt of samples in the laboratory
Examination results and reports;
Instrument maintenance records,
Calibration functions and conversion factors;
Quality control records;
Nonconformities identified and immediate or corrective action taken;
Complaints and action taken;
Records of internal and external audits;
Interlaboratory comparisons of examination results;

## Slide 29
4.14 Evaluation & Audits
Plan & implement to the internal audits
Patient& doctors feedback
Staff suggestion
Internal Audit
  Self evaluation of laboratory about technical and management requirement as per ISO 15189:2012 & NABL 112
Risk management
Quality indications
  IQC & EQAS
  TAT
  Sample flow
Reviews by external organization
4.15 Management review
Management meet with N.C. related to management
Role of management to resolve this N.C.
Discussion about Risk management & Continueal improvement

## Slide 30: Technical requirements
5.1 Personnel
Personal qualification
The laboratory provide training for all personnel :
  The quality management system;
  Assigned work processes and procedure;
  The applicable laboratory information system;(LIS)
  Heath and safety, including the prevention or containment of the effects of adverse incidents;
    Needle pick injury
    BMW management training
    Mercury spillage as well as sample spillage
    Fire extinguisher training
  Ethics;
  Confidentiality of patient information.

## Slide 31
5.2 Accommodation and environmental condition
Staff facility
Patient facility
Testing facility
Storage facility
Disposal facility

## Slide 32
5.3 Laboratory equipments, reagents and consumables.
5.3.1. equipment
- calibration
- maintenance
5.3.2. reagents and consumer
- verification
- validation
- inventory
- storage.

## Slide 33
5.4 Pre-examination procedures
Request form
Primary collection manual
  Information of patient & users during sample collection.
  Sample collection
  Sample transport
  Sample reception
5.5 Examination procedure
About examination procedures.

## Slide 34
5.6 Assuring quality of examination procedure
Related to frequency of IQC and EQAS
Drawing of L J chart
Interpretation of L J chart
Interpretation of ILC
Root cause analysis of IQC & EQAS
5.7 Post-examination procedures
About review of results
Storage, retention and disposal of sample.

## Slide 35
5.8 Reporting of results
identification of the examination
identification of the laboratory .
identification of all examinations done by referral laboratory
patient identification and location
Date of primary sample collection
type of primary sample;
Name of procedure,
Results SI units
biological reference range
interpretation of results
Authorized signature
date of the report, and time of release
page number

## Slide 36
5.9 Release of results
Technical personnel shall be well trained.
Issues a final report after verifying Results of the tests.
Reports records should be maintain for revise.
5.10 Laboratory information management
Patients security and confidentiality maintain
Access to LIS should be restricted.