## Slide 1: Quality Management System Training
LSSTH Sir T Hospital, Bhavnagar

## Slide 2: Pre test
Glucose IQC Level - 3 is violated +3SD rules & found that QC material was not at right temperature. What will be immediate and corrective action?
2. What should be there with document identification labelling ?
3. In what way risk management differs from corrective action?
a. Risk may be accepted if less probable and less harmful. Corrective actions must be taken for all NCs
b. Risk management only deals with health risk to laboratory staff. Corrective action deals with all process/resources
c. Risk management deals with "imaginary NC". Corrective action deals with "real NC"
d. Risk may be accepted if difficult to detect. But Corrective actions must be taken for all NCs

## Slide 3
4. There is a public limited company with 20 medical laboratory branches across India. One laboratory in Mumbai is with 90%-10% registered partnership with a local leading pathology laboratory. All other branches are 100% owned by the company
5 branches in Mumbai
5 branches in Kolkota
5 branches in Delhi
3 branches in Chennai
2 branches in Pune
What are minimum and maximum number of accreditation applications required by the company?

## Slide 4
5. A company runs chain of laboratories in different cities. "Ahmedabad branch" performs 70 tests. Samples for rest of the test are sent to "Delhi Branch". Both branches have separate "legal identity" and separate NABL accreditation.
"Alpha-fetoprotein" is never done in ahmedabad lab, but samples are sent to Delhi lab.
"IHC for ER and PR receptor" is done at Ahmedabad Lab but occasionally only images are sent to Delhi Lab for expert opinion
whenever equipment of Ahmedabad Lab is out of order, samples for "TSH" are sent to Delhi for examination.
Answer the following questions in Yes or No
1)For Alpha-fetoprotein Delhi Lab is referral Lab. 2) For IHC for ER and PR receptor Delhi Lab is referral Lab.
3)For TSH Delhi Lab is referral Lab.

## Slide 5: QMS
Follows - ISO 15189:2012 and Updated NABL-112
ISO 15189:2012 -
https://standardsbis.bsbedge.com/
NABL-112 -
https://nabl-india.org/
NABL accreditation for laboratory are voluntary process.
And
All Statutory & Government rule, regulation & law always remain above the ISO & NABL standard guideline requirements.

## Slide 6: Laboratory Management
Three designation are mandatory as per guideline and need to define role & responsibilities as per defined in managental clause of ISO 15189:2012
Laboratory Director
Quality Manager
Authorized signatory

## Slide 7: 4. Policy - Document - Record
Policy : To do same, laboratory need to promise their customer , partner , employee & accreditation body through policy making.
Document : Document includes all the policies , processes and procedures, which is drafted in form of soft copy or hard copy for better implementation of it. These document will be remain statutory stand until next amendment of same.
Record : On basis of documents , in daily routine practice , laboratory produces data & information in soft or hard copy, which is considered as records.

## Slide 8: Document Control
Title
Unique identifier on each page
Date of current edition
Edition number
Page no to total page number
Authority to issue

## Slide 9: Referral Laboratories
NABL gives accreditation to test which can be performed by laboratory only.
If facility for testing any parameters is not there in laboratory, laboratory can not keep these in scope of accreditation.
Use of referral laboratory / consultant
In case of instrument break down
for second opinion
Sample number over loaded

## Slide 10: Post test
Glucose IQC Level - 3 is violated +3SD rules & found that QC material was not at right temperature. What will be immediate and corrective action?
2. What should be there with document identification labelling ?
3. In what way risk management differs from corrective action?
a. Risk may be accepted if less probable and less harmful. Corrective actions must be taken for all NCs
b. Risk management only deals with health risk to laboratory staff. Corrective action deals with all process/resources
c. Risk management deals with "imaginary NC". Corrective action deals with "real NC"
d. Risk may be accepted if difficult to detect. But Corrective actions must be taken for all NCs

## Slide 11
4. There is a public limited company with 20 medical laboratory branches across India. One laboratory in Mumbai is with 90%-10% registered partnership with a local leading pathology laboratory. All other branches are 100% owned by the company
5 branches in Mumbai
5 branches in Kolkota
5 branches in Delhi
3 branches in Chennai
2 branches in Pune
What are minimum and maximum number of accreditation applications required by the company?

## Slide 12
5. A company runs chain of laboratories in different cities. "Ahmedabad branch" performs 70 tests. Samples for rest of the test are sent to "Delhi Branch". Both branches have separate "legal identity" and separate NABL accreditation.
"Alpha-fetoprotein" is never done in ahmedabad lab, but samples are sent to Delhi lab.
"IHC for ER and PR receptor" is done at Ahmedabad Lab but occasionally only images are sent to Delhi Lab for expert opinion
whenever equipment of Ahmedabad Lab is out of order, samples for "TSH" are sent to Delhi for examination.
Answer the following questions in Yes or No
1)For Alpha-fetoprotein Delhi Lab is referral Lab. 2) For IHC for ER and PR receptor Delhi Lab is referral Lab.
3)For TSH Delhi Lab is referral Lab.

## Slide 13
THANK YOU