## Slide 1: EQAS evaluation
Dr. Sapna Patel 3rd Year Resident Doctor, Biochemistry Department, Government Medical College, Bhavnagar.

## Slide 2: Terminology
Percentage Deviation Score (%Dev)
RM% Dev
ORM% Dev
SDI
RMSDI
ORMSDI
TS
RMTS
ORMTS

## Slide 3: Target scoring system <40 - Unacceptable 41 - 50 Need for improvement 51 - 70 Acceptable 71 - 100 Good 101 - 120 Excellent TDPA-set so that only 10% laboratories achieve TS less than 50.
189 190 200 210 211
50 200 550 150 50
Number of laboratories
TDPA= 10%
Mean = 200
Lab included= 190-210
RMTS
ORMTS

## Slide 4: Text section

## Slide 6: Text section

## Slide 7: Graph of SD vs Sample number

## Slide 8: Graph showing % Deviation vs Concentration

## Slide 9: Graph showing % Deviation vs. Concentration

## Slide 10: Graph showing % Deviation vs. Concentration

## Slide 11: Graph showing % Deviation vs sample number

## Slide 12: Graph of Target score vs Sample number

## Slide 13: Acceptable criteria for performance
Target Score > 50
SDI < ±2
% Deviation within the “acceptable limits” set.

## Slide 14
THANK YOU

## Slide 15
%Deviation = participant’s result - mean for comparison x 100 mean for comparison

## Slide 16: SDI
SDI= lab mean- mean for comparison
          SDPA
          SDPA= CVPA X mean for comparison
          100
CVPA= TDPA/1.64