## Slide 1: FTIR – Fourier Transformer Infrared
Dr. Arvi Mehta,
3rd Year Resident,
Biochemistry Department,
Govt. Medical College,
Bhavnagar.

## Slide 2: Learning Objectives
• Understand basic FTIR principle.
• Identify important instrument components.
• Explain Michelson interferometer.
• Understand constructive and destructive interference.
• Explain interferogram and Fourier transform.
• Understand the final spectrum.

## Slide 3: FTIR – Basic Principle
• Molecules contain different chemical bonds.
• Chemical bonds have specific vibrations.
• Infrared radiation matches bond vibrations.
• Matching infrared frequencies are absorbed.
• Different bonds absorb different frequencies.
• Absorption pattern identifies the substance.

## Slide 4: Molecular Vibrations in FTIR
Reference: Ojeda JJ, Dittrich M. Fourier transform infrared spectroscopy for molecular analysis of microbial cells. Methods in Molecular Biology. 2012;881:187–211. doi:10.1007/978-1-61779-827-6_8.

## Slide 5: Main Components of FTIR
• Infrared light source
• Michelson interferometer
• Sample compartment
• Detector
• Computer
Source → Interferometer → Sample → Detector → Computer

## Slide 6: Components of FTIR

## Slide 7: Michelson Interferometer
• Beam splitter divides infrared beam.
• First beam reaches fixed mirror.
• Second beam reaches moving mirror.
• Both mirrors reflect their beams.
• Reflected beams combine again.
• Moving mirror changes beam distance.

## Slide 8: Constructive and Destructive Interference
Constructive interference:
• Peak meets peak.
• Waves strengthen each other.
• Stronger signal is produced.
Destructive interference:
• Peak meets trough.
• Waves weaken or cancel.

## Slide 9: Sample Interaction and Interferogram
• Combined beam reaches the sample.
• Sample absorbs matching infrared frequencies.
• Remaining radiation reaches the detector.
• Detector records a changing signal.
• Raw signal is called interferogram.
• Interferogram contains mixed frequency information.

## Slide 10: Fourier Transform and Final Spectrum
• Computer processes the interferogram.
• Fourier transform separates infrared frequencies.
• Final absorption spectrum is generated.
• X-axis: Wavenumber in cm⁻¹.
• Y-axis: Absorbance.
• Absorption peaks identify the sample.

## Slide 11: Interpretation
Reference: LibreTexts Chemistry. Interpreting Infrared Spectra. Describes IR spectrum interpretation and the role of absorption bands/fingerprint region.

## Slide 12: Summary

## Slide 13: References
Kaplan LA, Pesce AJ. Clinical Chemistry: Theory, Analysis, and Correlation. 3rd ed. Mosby; 1996. General reference for clinical chemistry analytical methods and instrumentation.
Griffiths PR, de Haseth JA. Fourier Transform Infrared Spectrometry. 2nd ed. Wiley; 2007.
Ojeda JJ, Dittrich M. Fourier transform infrared spectroscopy for molecular analysis of microbial cells. Methods in Molecular Biology. 2012;881:187–211. doi:10.1007/978-1-61779-827-6_8.
Thermo Fisher Scientific. FTIR Spectroscopy Academy. FTIR is described as Fourier transform infrared spectroscopy, where absorbed/transmitted IR produces a molecular fingerprint spectrum.
LibreTexts Chemistry. Interpreting Infrared Spectra. Group frequencies help identify functional groups in IR spectra.
Khan AH, Imran S, Talati J, Jafri L. Fourier transform infrared spectroscopy for analysis of kidney stones. Investigative and Clinical Urology. 2018;59(1):32–37.

## Slide 14: THANK YOU